NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Notifying Member: MEXICO If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Secretaría de Economía (Ministry of the Economy) Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Comité Consultivo Nacional de Normalización de la Secretaría de Economía, CCONNSE (National Advisory Committee on Standardization of the Ministry of the Economy) Av. Puente de Tecamachalco Núm. 6 Col. Lomas de Tecamachalco, Sección Fuentes, Naucalpan de Juárez, C.P. 53950, Estado de México Tel.: 52 29 61 00, Ext. 43227 and 43245, Fax: 55 20 97 15 or Email: dgn.jorge@economia.gob.mx and emeterio.mosso@economia.gob.mx |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Nonautomatic weighing instruments - National tariff heading: 8423 |
| 5. | Title, number of pages and language(s) of the notified document: Proyecto de Norma Oficial Mexicana PROY-NOM-010-SCFI-2017 Instrumentos de medición-Instrumentos para pesar de funcionamiento no automático-Requisitos técnicos y metrológicos, métodos de prueba y de verificación (Draft Mexican Official Standard PROY-NOM-010-SCFI-2017, Measuring instruments - Non-automatic weighing instruments - Technical and metrological requirements, test and verification methods) (cancels draft Mexican Official Standard PROY-NOM-010-SCFI-2014 and will cancel Mexican Official Standard NOM-010-SCFI-1994) (212 pages, in Spanish) |
| 6. | Description of content: The notified draft Mexican Official Standard specifies the metrological and technical requirements applicable to all non-automatic weighing instruments, and to modules that are assessed separately. It also establishes the requirements and test procedures to assess metrological and technical characteristics in a uniform and traceable manner. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: The notified draft Mexican Official Standard specifies the metrological and technical requirements applicable to all non-automatic weighing instruments, and to modules that are assessed separately. It sets forth requirements and testing procedures for evaluating the metrological and technical characteristics in a uniform and traceable manner. |
| 8. | Relevant documents: Mexican Official Standard NOM-001-SCFI-1993, Aparatos electrónicos de uso doméstico alimentados por diferentes fuentes de energía eléctrica-Requisitos de Seguridad y Métodos de prueba para la aprobación de tipo, published in the Official Journal on 13 October 1993; Mexican Official Standard NOM-008-SCFI-2002, Sistema General de Unidades de Medida, published in the Official Journal on 27 November 2002; Mexican Official Standard NOM-038-SCFI-2000, Pesas de clases de exactitud E1, E2, F1, F2, M1, M2 y M3 (This Standard cancels draft Mexican Official Standard PROY-NOM-039-SCFI-1994), published in the Official Journal of 26 February 2001; Mexican Standard NMX-J-610/4-3-ANCE-2015 Compatibilidad electromagnética (EMC)-Parte 4-3: Técnicas de prueba y medición-pruebas de inmunidad a campos electromagnéticos radiados por señales de radiofrecuencia (cancels Mexican Standard NMX-J-550/4-3-ANCE-2008; Standard referred to in Mexican Official Standard NOM-003-SCFI-2014). Notice of entry into force published in the Official Journal on 24 May 2016; Mexican Standard NMX-J-579/4-6-ANCE-2006 Técnicas de prueba y medición-Parte 4-6: Pruebas de inmunidad de equipo eléctrico y electrónico a las radio perturbaciones conducidas e inducidas. Notice of entry into force published in the Official Journal on 4 January 2007; Mexican Standard NMX-Z-055-IMNC-2009 Vocabulario Internacional de Metrología-Conceptos fundamentales y generales, y términos asociados (VIM). Notice of entry into force published in the Official Journal on 24 December 2009; Mexican Standard NMX-Z-012/2-1987, "Muestreo para la inspección por atributos - Parte 2: Métodos de muestreo, tablas y gráficas". Notice of entry into force published in the Official Journal on 28 October 1987; Mexican Standard NMX-J-610/4-2-ANCE-2012, Compatibilidad electromagnética (EMC)-Parte 4-2: Técnicas de prueba y medición-Pruebas de inmunidad a descargas electrostáticas. Notice of entry into force published in the Official Journal on 21 June 2012. |
| 9. | Proposed date of adoption: To be determined. Proposed date of entry into force: The notified Mexican Official Standard will enter into force 480 calendar days after its publication in the Official Journal as a final standard. |
| 10. | Final date for comments: 30 September 2018 |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Secretaría de Economía (Ministry of the Economy) Subsecretaría de Competitividad y Normatividad (Under-Secretariat for Competitiveness and Standardization) Dirección General de Normas (Directorate-General of Standards) Tel.: (+52) 55 5729 9100, Ext. 43244 Fax: (+52) 55 5520 9715 Website: http://www.economia.gob.mx/comunidad-negocios/normalizacion/catalogo-mexicano-de-normas Email: normasomc@economia.gob.mx/sofia.pacheco@economia.gob.mx/jose.ramosr@economia.gob.mx Text available at: http://www.dof.gob.mx/nota_detalle.php?codigo=5533602&fecha=01/08/2018 http://www.dof.gob.mx/nota_detalle.php?codigo=5533604&fecha=01/08/2018 https://members.wto.org/crnattachments/2018/TBT/MEX/18_4159_00_s.pdf https://members.wto.org/crnattachments/2018/TBT/MEX/18_4159_01_s.pdf |