NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Singapore If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: National Environment Agency Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): HS: 8539 21xx, HS 8539 22xx, HS 8539 29xx: Non-directional1 incandescent lamp for the illumination of an area, of power rating between 25 watts and 200 watts, with either Edison screw or bayonet lamp cap, that is designed to be connected to 230 volts mains voltage by means of a socket or lamp connector. HS: 8539 31xx, HS 8539 39xx: Compact fluorescent lamp without integrated ballast (CFLni) for the illumination of an area with G24d lamp cap, that is designed to be connected to 230 volts mains voltage by means of a socket or lamp connector. HS: 8539 50xx: LED lamp with G24d lamp cap, intended for replacing2 CFLni with the same cap. HS: 8539 31xx, HS 8539 39xx: Linear fluorescent lamp of 26mm diameter (T8 fluorescent lamp) and 0.5m to 1.5m long for illumination of an area with G13 lamp caps, that is designed to be connected to 230 volts mains voltage by means of a socket or lamp connector. HS: 8539 50xx: Linear LED lamp of 26mm diameter (T8 LED lamp) and 0.5m to 1.5m long with G13 lamp caps, intended for replacing2 T8 fluorescent lamp with the same caps. HS: 8504 1000: Ballasts used in conjunction with fluorescent lamps that are designed to be connected to 230 volts mains voltage by means of a socket or lamp connector. 1 Non-directional lamp means a lamp not having at least 80% light output within a cone angle of 120° 2 Only applicable for replacement without requiring any internal modification of the existing luminaire |
| 5. | Title, number of pages and language(s) of the notified document: Energy Conservation Act (in English) Energy Conservation (Prescribed Regulated Goods) Order 2017 (in English) Energy Conservation (Regulated Goods and Registered Suppliers) Regulations 2017 (in English) Energy Conservation (Composition of Offences) Regulations 2013 (in English) These documents are available online at https://sso.agc.gov.sg/ |
| 6. | Description of content: NEA introduced the Mandatory Energy Labelling Scheme (MELS) and Minimum Energy Performance Standards (MEPS) in 2008 and 2011 respectively to help individuals purchase more energy efficient appliances. The existing Energy Conservation (Prescribed Regulated Goods) Order 2017 and the Energy Conservation (Regulated Goods and Registered Suppliers) Regulations 2017 will be amended to: Raise MEPS for non-directional incandescent lamps listed under Section 4(i) Introduce MELS for lamp types listed under Sections 4(ii) to 4(v), and Introduce MEPS for fluorescent lamp ballasts listed under Section 4(vi) The revised MEPS for non-directional incandescent lamps listed under Section 4(i) from 1 August 2019 will be as follows: Current MEPS Revised MEPS from 1 August 2019 P= 0.8 x (0.88 + 0.049) P = 0.24 + 0.0103 Where P is power consumption is light output in lumen From 1 August 2019, all regulated lamps listed under Sections 4(ii) to 4(v), to be supplied or for sale in Singapore must: Be registered; Be labelled with an Energy Label, and Meet lamp survival and lumen maintenance requirements as follows – Lamp Types CFLni [Lamp cap: G24d] Linear Fluorescent Lamp [Lamp cap: G13] LED direct replacement Lamp survival 90% at 2,000h 95% at 1,000h (Measured) 90% at 6,000h (Declared) Lumen maintenance 80% at 2,000h 85% at 1,000h (Measured) 80% at 6,000h (Declared) The regulated lamps are to be tested according to the following standards, which are used to determine their energy efficiency: Lamp Types CFLni [Lamp cap: G24d] Linear Fluorescent Lamp [Lamp cap: G13] LED direct replacement Lumen Measurement Standard CIE 84 CIE S 025 Test standards IEC 60901 IEC 60081 Relevant clauses of IEC 62612 From 1 August 2019, fluorescent lamp ballasts listed under Section 4(vi), to be supplied or for sale in Singapore must: Be registered; and Meet Energy Efficiency Index (EEI) class B1 (Magnetic ballasts with very low losses) |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Objective: For the purpose of promoting energy conservation. Rationale: Lamps are commonly found in homes and buildings. Based on the 2017 household energy consumption study conducted by NEA, lighting was among the top 5 energy-consuming appliances and devices in homes, accounting for about 6% of household electricity consumption. The revised MEPS for incandescent lamps and introduction of MEPS for ballasts will reduce energy consumption of households. Consumers will also reap life cycle cost savings when they switch to more energy efficient LED substitutes for CFLni and linear fluorescent lamps. |
| 8. | Relevant documents: Notice will be published in the Republic of Singapore's Government Gazette when adopted. |
| 9. | Proposed date of adoption: Notice will be published prior to the date of entry into force Proposed date of entry into force: 1 August 2019 |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Ms Corine Wong Senior Manager, Energy Efficiency & Conservation Department 40 Scotts Road, #19-00 Environment Building Singapore 228231 Tel.: (65) 6731-9386 (DID) Fax: (65) 6235-2611 Email: corine_wong@nea.gov.sg Mr Frankie Foo Senior Engineer, Energy Efficiency & Conservation Department 40 Scotts Road, #19-00 Environment Building Singapore 228231 Tel.: (65) 6731-9421 (DID) Fax: (65) 6235-2611 Email: Frankie_Foo@nea.gov.sg |