NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** United Arab Emirates  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:** Emirates Authority for Standardization and Metrology (ESMA)  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  Emirates Authority for Standardization and Metrology (ESMA) P O Box: 2166 Abu Dhabi United Arab Emirates Tel.: (+971) 2 403 2613 Fax: (+971) 2 671 0999 Email: [uaetbt@esma.gov.ae](mailto:uaetbt@esma.gov.ae) Website: <http://www.esma.gov.ae> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Energy Efficiency Label for lifts; Lifts. Escalators (ICS 91.140.90) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft of UAE Technical Regulation "Labeling –Energy Efficiency Label for lifts" (14 page(s), in English) |
| **6.** | **Description of content:** This standard specified Energy classification system and measuring actual energy consumption of lifts, on single unit basis. This only considers the energy performance during the operational portion of the life cycle of the lifts.  This standard does not cover energy aspects, which affect the measurement, calculations and simulation such as the following:  - Hostway lighting - Heating and cooling equipment in the lift car. - Machine room heating, ventilation, and air conditioning. - Machine room lighting. - Non-lift display system , CCTV secure cameras , - Non –lift monitoring system (e.g. building management systems, etc. - Effect of lift group dispatching on energy consumption. - Consumption through the power sockets - Lifts whose travel includes an express zone. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Consumer information, labelling; Prevention of deceptive practices and consumer protection; Protection of the environment; Quality requirements |
| **8.** | **Relevant documents:** |
| **9.** | **Proposed date of adoption:** NA  **Proposed date of entry into force:** NA |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  Emirates Authority for Standardization and Metrology (ESMA) UAE TBT Enquiry Point Tel.: (+971) 2 403 2657 Fax: (+971) 2 671 5999 E-mail: [uaetbt@esma.gov.ae](mailto:uaetbt@esma.gov.ae) Website: <http://www.esma.gov.ae>  <https://members.wto.org/crnattachments/2020/TBT/ARE/20_4363_00_e.pdf> |