NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Notifying Member: CHILE If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Superintendencia de Electricidad y Combustibles, SEC (Electricity and Fuel Board) Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Subsecretaría de Relaciones Económicas Internacionales - Ministerio de Relaciones Exteriores (Undersecretariat for International Economic Relations, Ministry of Foreign Affairs) |
| 3. | Notified under Article 2.9.2 [ ], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Electronic active electrical energy meters, single-phase or three-phase, classes 0.2S and 0.5S. |
| 5. | Title, number of pages and language(s) of the notified document: Protocolo de Certificación para dar cumplimiento al Anexo de la Norma Técnica de Calidad de Servicio para Sistemas de Distribución (Certification protocol implementing the annex to the Technical Standard on Quality of Service for Distribution Systems) (12 pages, in Spanish) |
| 6. | Description of content: The notified protocol sets out the certification procedure for electronic meters in accordance with the requirements contained in the annex to the Technical Standard on Quality of Service for Distribution Systems, which include safety, metrological and communication requirements, and requirements concerning the opening and closing of supply, and dependability. The protocol covers the following types of meter: Electronic (or static) active electrical energy meters, single-phase or three-phase, classes 0.2 and 0.5. Electronic (or static) meters with the following characteristics: Bidirectional, with communication capacity and an opening and closing device. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Prevention of deceptive practices and consumer protection; Protection of human health or safety. |
| 8. | Relevant documents: IEC 62053-22:2016, Electricity metering equipment (AC) - Particular requirements - Part 21: Static meters for active energy (classes 1 and 2) IEC 62052-11:2003-02+AMD1:2016, Electricity metering equipment (AC) - General requirements, tests and test conditions - Part 11: Metering equipment IEC 62052-31:2015, Electricity metering equipment (AC) - General requirements, tests and test conditions - Part 31: Product safety requirements and tests IEC 62059-41:2006, Electricity metering equipment - Dependability - Part 41: Reliability prediction IEC 62053-61:1999, Electricity metering equipment (AC) - Particular requirements - Part 61: Power consumption and voltage requirements IEC 62056‐6‐1:2017, Electricity metering data exchange - The DLMS/COSEM suite - Part 6-1: Object Identification System (OBIS) IEC 61000‐4‐8:2009, Electromagnetic compatibility (EMC) - Part 4-8: Testing and measurement techniques - Power frequency magnetic field immunity test IEC 61000‐4‐11:2004+AMD1:2017, Electromagnetic compatibility (EMC) - Part 4-11: Testing and measurement techniques - Voltage dips, short interruptions and voltage variations immunity tests Supreme Decree No. 298 of 2005 of the Ministry of the Economy, Development and Reconstruction on the certification of electrical products and fuel Ministry of Energy Exempt Resolution No. 706, dated 7 December 2017, establishing the Technical Standard on Quality of Service for Distribution Systems; Ministry of Energy Exempt Resolution No. 468, dated 4 August 2019, establishing the Technical Annex on Measurement, Monitoring and Control Systems of the Technical Standard on Quality of Service for Distribution Systems, in accordance with Article 35 of Ministry of Energy Supreme Decree No. 11 of 2017. |
| 9. | Proposed date of adoption: - Proposed date of entry into force: - |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: División de Aspectos Regulatorios del Comercio (Trade Regulations Division) Subsecretaría de Relaciones Económicas Internacionales (Undersecretariat for International Economic Relations) Ministerio de Relaciones Exteriores de Chile (Ministry of Foreign Affairs of Chile) Teatinos 180, piso 11 Tel.: (+56) 2 2827 5250 Fax: (+56) 2 2380 9494 Email: Tbt_Chile@subrei.gob.cl https://www.sec.cl/consulta-publica/#1562021903692-b342647e-b300 https://members.wto.org/crnattachments/2019/TBT/CHL/19_7369_00_s.pdf |