NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Australia If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Australian Building Codes Board Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Contact: Australia TBT Enquiry Point, Department of Foreign Affairs and Trade (DFAT), email: tbt.enquiry@dfat.gov.au |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Taps, cocks, valves and similar appliances for pipes, boiler shells, tanks, vats or the like, incl. pressure-reducing valves and thermostatically controlled valves; parts thereof (HS 8481) |
| 5. | Title, number of pages and language(s) of the notified document: WaterMark Certification Scheme - WMTS-533:2021 Wet well washers (15 page(s), in English) |
| 6. | Description of content: This Specification sets out requirements for a prefabricated washing device consisting of a rotating arm with included spray nozzles designed specifically for use with wet wells and tanks. These devices are designed to be permanently fixed to the wet well and not portable. These devices operate on mains water supply pressure and control is integrated with the pump so as to function only when the pump is operational. These units could be manufactured complete with associated fittings and control equipment for ease of installation on site. The Plumbing Code of Australia (PCA) requires that most products intended for use in plumbing and drainage installations in or around buildings to be evaluated and certified to WaterMark product specifications. WaterMark certification to an applicable product specification provides a process to evaluate and authorise products to enable their use in a plumbing and drainage installation. Thus ensuring that the plumbing and drainage products are fit for purpose for which they are intended. This WaterMark Technical Specification (WMTS) was prepared in accordance with the Manual for the WaterMark Certification Scheme, Appendix 4, Protocol for Developing Product Specifications. The objective of WaterMark Technical Specification is to enable product certification in accordance with the requirements of the Plumbing Code of Australia (PCA). |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: The objectives of the Scheme are to establish the requirements for product certification and authorisation under Part A2 of the PCA and: a) to provide a process to authorise products to enable their use in plumbing and drainage installations as covered by the PCA, and b) to ensure that plumbing and drainage products are fit for the purpose for which they are intended and that their use in a plumbing and drainage installation throughout its serviceable life is suitable and does not create significant risks or any likely outcome of: (i) personal illness, loss, injury or death; (ii) on-site environmental degradation; (iii) contamination of the water resource; (iv) adverse impact on infrastructure (private or public); (v) contamination of water supplies from the point of connection to the points of discharge; or (vi) wastage of resources (water and energy) Protection of human health or safety; Protection of the environment; Quality requirements |
| 8. | Relevant documents: Manual for the WaterMark Certification Scheme |
| 9. | Proposed date of adoption: 7 November 2021; This date is an approximate and subject to the development of the documents content. Proposed date of entry into force: 6-12 months from adoption; 6 months from adoption |
| 10. | Final date for comments: 7 September 2021 |
| 11. | Texts available from: National enquiry point [ ] or address, telephone and fax numbers and email and website addresses, if available, of other body: https://consultation.abcb.gov.au/engagement/wmts-533-2021-wet-well-washers/ |