NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Uganda If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Gloves, mittens and mitts, of vulcanised rubber (excl. surgical gloves) (HS 401519); Latex and raw rubber (ICS 83.040.10) |
| 5. | Title, number of pages and language(s) of the notified document: DUS 883-2:2021, Single-use medical examination gloves — Part 2: Specification for gloves made from poly (vinyl chloride), Second Edition (18 page(s), in English) |
| 6. | Description of content: This part of DUS 883, specifies requirements and test methods for packaged sterile, or bulked non-sterile, poly (vinyl chloride) gloves intended for use in medical examinations, and diagnostic or therapeutic procedures, to protect the patient and the user from cross-contamination. It also covers poly (vinyl chloride) gloves intended for use in handling contaminated medical materials. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Consumer information, labelling; Prevention of deceptive practices and consumer protection; Quality requirements |
| 8. | Relevant documents: G/TBT/N/UGA/176 ISO 37, Rubber, vulcanized or thermoplastic — Determination of tensile stress-strain properties ISO 188, Rubber, vulcanized or thermoplastic — Accelerated ageing and heat resistance tests ISO 23529, Rubber — General procedures for preparing and conditioning test pieces for physical test methods US ISO 2859-1, Sampling procedures for inspection by attributes — Part 1: Sampling schemes indexed by acceptance quality level (AQL) for lot-by-lot inspection US ISO 10993 (all parts), Biological evaluation of medical devices US ISO 15223, Medical devices — Symbols to be used with medical device labels, labelling and information to be supplied. ISO 11193-2:2006, Single-use medical examination gloves — Part 2: Specification for gloves made from poly (vinyl chloride) US 883-2: 2011, Single-use medical examination gloves — Part 2: Specification for gloves made from poly (vinyl chloride) |
| 9. | Proposed date of adoption: November 2021 Proposed date of entry into force: Upon declaration as mandatory by the Minister for Trade, Industry and Cooperatives |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug https://members.wto.org/crnattachments/2021/TBT/UGA/21_3929_00_e.pdf |