NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** KINGDOM OF SAUDI ARABIA**If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Saudi Standards, Metrology and Quality Organization (SASO)**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** Saudi Standards, Metrology and Quality Organization (SASO)P. O .BOX : 3437 Riyadh 11471Tel: +966(11) 252 Ext : (9065-9081-9072)Fax +966(11) 4520193 , +966(11)4520086Email: enquirypoint@saso.gov.saWebsite: <http://www.saso.gov.sa> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Sanitary installations (ICS code(s): 91.140.70) Including bidets, kitchen sinks, baths, waste chutes, etc. |
| **5.** | **Title, number of pages and language(s) of the notified document:** Performance requirements for pressurized flushing devices for plumbing fixtures (15 page(s), in English) |
| **6.** | **Description of content:** This Standard covers pressurized flushing devices (PFDs) intended to flush water closets, urinals, and other plumbing fixtures and specifies requirements for materials, design, methods of operation, test methods, and markings. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of the environment |
| **8.** | **Relevant documents:** ASME (The American Society of Mechanical Engineers) A112.18.3-2008 (R2017) Performance requirements for backflow protection devices and systems in plumbing fixture fittingsB1.1-2003 (R2018) Unified Inch Screw Threads (UN & UNR Thread Form)B1.20.1-2013 (R2018) Pipe Threads, General Purpose (Inch)B16.18-2018 Cast Copper Alloy Solder Joint Pressure FittingsB16.22-2018 Wrought Copper and Copper Alloy Solder Joint Pressure FittingsASSE (ASSE International Chapter of IAPMO, LLC.) 1001-2017 Performance Requirements for Atmospheric Type Vacuum Breakers Plumbing Dictionary Sixth Edition — 2007CSA Group B64 Series-11(R2016) Backflow preventers and vacuum breakers B64.1.1-11 (R2016) Atmospheric vacuum breakers (AVB)SASO (Saudi Standards, Metrology and Quality Organization) SASO 1473/2016 Ceramic sanitary appliances-western water closetsSASO 2655/2019 Sanitary Appliances: General Requirements and Methods of test for Plumbing Fixture FittingsSASO 2922/2018 Western water closets equipped with a dual flushing deviceSASO xxxx/2021 Ceramic sanitary appliances- urinal. ASME A112.19.2 shall be applicable until the Saudi Standard approvedSAE International (Society of Automotive Engineers) J512 (1997) Automotive Tube Fittings |
| **9.** | **Proposed date of adoption:** 20 September 2022**Proposed date of entry into force:** 20 March 2023 |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Saudi Arabia Standards Organization (SASO)P.O. Box 3437ENQUIRYPOINT@saso.gov.sa<http://www.saso.gov.sa>Riyadh11471+966(1)252; ext:9065; ext.9081; ext.9072+966 (1) 4530035 (Fax) |