| World Trade Organization |  |
| --- | --- |
|  | G/TBT/Notif.98.429 20 August 1998 |
|  | (98-3284) |
| Committee on Technical Barriers to Trade |  |

NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Member to Agreement notifying: ISRAEL If applicable, name of local government involved (Articles 3.2 and 7.2): SII Enquiry Point |
| --- | --- |
| 2. | Agency responsible: Ministry of Industry and Trade of the State of Israel Agency or authority designated to handle comments regarding the notification shall be indicated if different from above: SII |
| 3. | Notified under Article 2.9.2 [ ], 2.10.1 [ ], 5.6.2 [ X ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Air conditioners HS : 85.44 ICS 31 |
| 5. | Title, number of pages and language(s) of the notified document: SI 1381 Part 1 - Cable Trunking and Ducting systems for Electrical Installations – General - Requirements. (2 pp. Hebrew ) - Modifications to IEC 1084-1 (1991 + Amendment 1 – 1993 - Revision of SI 1381 – 1991. Official Under Notice of the Minister of Industry and Trade # 3966, 92/01/23 |
| 6. | Description of content: This Standard specifies requirements for cable trunking and ducting systems, intended for the accommodation, and where necessary for the segregation, of conductors, cables or cords and/or other electrical equipment in electric installations. These requirements do not apply to conduit, cable tray or cable ladder or current-carrying parts within the system. The Standard does not apply to laterally grooved channels for installation in electrical cabinets. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Safety |
| 8. | Relevant documents: Notice will be published in the Official Gazette, Section of Government Notices, when adopted. |
| 9. | Proposed date of adoption: December 1998 Proposed date of entry into force: February 1999 |
| 10. | Final date for comments: November 1998 |
| 11. | Texts available (in Hebrew) from: National enquiry point [ X ] or address, e-mail and telefax number of the other body: library@sii.org.il |